## Sheet1 - Table 1
Manufacturer | Item | Quantity
Fisher Scientific | -1 - 51 °C Thermometer | 1
Fisher Scientific | -10 - 110 °C Thermometer | 22
Fisher Scientific | -20 - 110 °C Thermometer | 8
Fisher Scientific | 20 - 50 °C Thermometer | 2
Hach | 2100N Turbidimeter | 1
YSI | 650 MDS (Multiparameter Display System) | 1
YSI | 6600 V2 multi-parameter sonde | 6
Craftman | 8 in. Drill Press | 1
Fisher Scientific | 80 - 135 °C Thermometer | 5
BioExpress | Air Clean Workspace | 1
Gast | Air Pump | 3
Dionex | AS40 Automated Sampler | 1
Shimadzu | ASI-V Auto Sampler | 1
Hobo | Assorted Couplers | 4
Wheaton | Auto Pipette (.5 - 5 mL) | 1
Rainin | Auto Pipette (0.1 - 2 uL) | 1
Rainin | Auto Pipette (0.5 - 10 uL) | 1
Eppendorf | Auto Pipette (10 - 100 uL) | 2
Eppendorf | Auto Pipette (100 - 1000 uL) | 3
Rainin | Auto Pipette (100 uL - 1mL) | 1
Eppendorf | Auto Pipette (1000 - 5000 uL) | 1
Rainin | Auto Pipette (2 - 20 uL) | 1
Eppendorf | Auto Pipette (2- 10 uL) | 1
Rainin | Auto Pipette (20 - 200 uL) | 2
VWR | B1500A-MT Ultrasonic Water Bath | 1
Orion | BOD Fast Sensor | 12
YSI | BOD Probe | 2
| Bunsen Burner | 2
Awarness Technology Inc. | ChroMate, 8-channel microplate reader | 1
Hach | COD Reactor | 1
Dell | Computer | 8
Hach | Conductivity Probe | 10
Aldrich | Diazald Kit | 1
Kenmore | Dishwasher | 2
YSI | Dissolved Oxygen Meter | 3
Hach | Dissolved Oxygen Probe | 10
Hach | DR 2000 Spectrophotometer | 1
Fisher Scientific | Dual Channel pH / Ion Meter | 2
Dionex | DX-120 Ion Chromatograph | 1
Magellan | Explorist GPS | 1
Milli-Q | Deionized Water Filter | 5
Nalgene | First Flush sampler | 22
Labconco | Flask Scrubber | 1
Manufacturer | Item | Quantity
SonTek | FlowTracker Handheld-ADV | 1
Kenmore | Freezer | 3
Kenmore | Fridge / Freezer | 2
Thermo Scientific | Gel-Filled pH Electrode | 2
Labconco | Horizontal Clean Bench | 1
Fisher Scientific | Hot Plate / Stirrer | 1
Hach | HQ40d Multiparameter Water Quality Meter | 3
Thermo Scientific | IEC CL10 Centrifuge | 1
Fisher Scientific | Incubator | 1
Boekel | Incubator | 2
Fisher Scientific | Infrared Thermometer | 2
Kintrex | Infrared Thermometer | 3
Fisher Scientific | Isotemp Incubator | 3
Fisher Scientific | Isotemp Muffle Furnace | 1
Fisher Scientific | Isotemp Oven | 2
Steris | Laborator Steam Sterilizer | 1
Gateway | Laptop computer | 3
Nalgene | Metyvac | 1
Amerian Optical | Micro Scope | 1
Hach | Odyssey Spectorphotometer | 1
Hobo | Optic Base Station | 1
Hobo | Pendant Temperature | 16
Hach | pH Meter | 1
Rapitest | pH Meter | 1
Hach | pH Probe | 15
Oakton | pH Tester | 1
Hach | PHC301 Refillable pH Electrode | 1
Thermo Scientific | Precision Temperature Controlled Water Bath | 2
HP | Printer | 3
YSI | Pro BOD probe | 1
YSI | Professional Plus Handheld Multiparameter Water Quality Probe | 2
YSI | Professional Series Pro DO Meter | 1
Whatman | Programmable Hot Plate / Stirrer | 1
IDEXX | Quanti-Tray Sealer | 1
Lachat | Quikchem 8500 Flow Injection Analysis System | 1
Lachat | Reagent Pump | 1
Fisher Hamilition | Safeaire II Fume Hood | 6
Fisher Scientific | Scale | 1
Mettler Toledo | Scale | 3
HP | Scanner | 2
| Secchi Disk | 1
Hach | SensIon 5 meter | 9
SPEX | Shatter Box | 1
Manufacturer | Item | Quantity
Fisher Scientific | Sonic Dismembrator | 1
Ocean Optic | Spectrometer | 1
Fisher Scientific | Stirrer | 3
G.O. Environmental | Syringe Sampler | 2
Shimadzu | Total Organic Carbon Analyzer | 1
Fisher Scientific | Traceable Digital Thermometer | 3
Turner Designs | Trilogy Fluorometer | 1
Kontes | Tube Heater | 1
Zymark | Turbovap II Evaporator | 1
IKA Labortechnik | Ultra Turrax T25 Homogenizer | 1
Minerallight | UV Lamp | 5
Scientific Industries | Vortex Genie | 1
Hobo | Water Level Logger | 1
Lachat | XYZ Auto Sampler | 1
YSI | 6000 MS Multipramater sonde | 3
YSI | 600 R Multipramater sonde | 4
Durridge | RAD 7 Radon Gas Monitor | 3
Vaisala | WXT520 Weather Transmitter | 3